## Configuration
Host | Name | ortce-H100-2
| Time | Fri Oct 20 10:50:40 PM UTC 2023
System | Manufacturer | Supermicro
| Product Name | Super Server
| Version | 123456789
| Serial # | S484652X2C09818
| UUID | 00000000-0000-0000-0000-7cc2551a1829
Baseboard | Manufacturer | Supermicro
| Product Name | X13DEG-OA
| Version | 1
| Serial # | OM232S026381
Chassis | Manufacturer | Supermicro
| Type | Unknown
| Version | 123456789
| Serial # | C4180AK49A50682
PCIe Slots | Designation | Type | Length | Bus Address | Current Usage
| AOM PCI-E 3.0 X4 | x4 PCI Express 3 x4 | Short | 0000:03:00.0 | In Use
| AIOM Slot | x16 PCI Express 5 x16 | Long | 0000:97:01.0 | Available
| SLOT1 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:3a:00.0 | In Use
| SLOT2 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:3b:00.0 | In Use
| SLOT3 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:3c:00.0 | In Use
| SLOT4 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:26:01.0 | Available
| SLOT5 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:26:01.0 | Available
| SLOT6 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:26:01.0 | Available
| SLOT7 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:15:01.0 | Available
| SLOT8 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:bc:00.0 | In Use
| SLOT9 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:bd:00.0 | In Use
| SLOT10 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:be:00.0 | In Use
| SLOT11 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:ae:00.0 | In Use
| SLOT12 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:ad:00.0 | In Use
| SLOT13 PCI-E 5.0 X16 | x16 PCI Express 5 x16 | Long | 0000:ac:00.0 | In Use
BIOS | Vendor | American Megatrends International, LLC.
| Version | 1.4
| Release Date | 05/27/2023
Operating System | OS | Ubuntu 22.04 LTS
| Kernel | 5.15.0-76-generic
| Boot Parameters | BOOT_IMAGE=/boot/vmlinuz-5.15.0-76-generic root=UUID=73ae7df7-bbe5-4598-a0d5-da7b1040da80 ro
| Microcode | 0x2b000461
Software Version | GCC | gcc (Ubuntu 11.4.0-1ubuntu1~22.04) 11.4.0
| GLIBC | ldd (Ubuntu GLIBC 2.35-0ubuntu3.4) 2.35
| Binutils | GNU ld (GNU Binutils for Ubuntu) 2.38
Python
| Python3 | Python 3.10.12
Java
| OpenSSL | OpenSSL 3.0.2 15 Mar 2022 (Library: OpenSSL 3.0.2 15 Mar 2022)
CPU | CPU Model | Intel(R) Xeon(R) Platinum 8480+
| Architecture | x86_64
| Microarchitecture | SPR_XCC
| Family | 6
| Model | 143
| Stepping | 6
| Base Frequency | 2.0GHz
| Maximum Frequency | 2.0GHz
| All-core Maximum Frequency | 3.0GHz
| CPUs | 224
| On-line CPU List | 0-223
| Hyperthreading | Enabled
| Cores per Socket | 56
| Sockets | 2
| NUMA Nodes | 2
| NUMA CPU List | 0-55,112-167 :: 56-111,168-223
| L1d Cache | 5.3 MiB (112 instances)
| L1i Cache | 3.5 MiB (112 instances)
| L2 Cache | 224 MiB (112 instances)
| L3 Cache | 210 MiB
| L3 per Core | 1.875 MiB
| Memory Channels | 8
| Prefetchers | L2 HW, L2 Adj., DCU HW, DCU IP
| Intel Turbo Boost | Enabled
| Virtualization | VT-x
PPINs
ISA | Name | Full Name | CPU Support | Kernel Support
| AVX | Advanced Vector Extensions | Yes | Yes
| AVX2 | Advanced Vector Extensions 2 | Yes | Yes
| AVX512F | AVX-512 Foundation | Yes | Yes
| AVX512_VNNI | Vector Neural Network Instructions | Yes | Yes
| AVX512_BF16 | BFLOAT16 | Yes | Yes
| AES | Advanced Encryption Standard New Instructions (AES-NI) | Yes | Yes
| VAES | Vector AES | Yes | Yes
| AMX-BF16 | Advanced Matrix Extensions Tile BFLOAT16 | Yes | Yes
| AMX-TILE | Advanced Matrix Extensions Tile Architecture | Yes | Yes
| AMX-INT8 | Advanced Matrix Extensions Tile 8-bit Integer | Yes | Yes
Accelerator | Name | Count | Work Queues | Full Name | Description
| DLB | 2 | N/A | Intel Dynamic Load Balancer | hardware managed system of queues and arbiters connecting producers and consumers
| DSA | 2 | None | Intel Data Streaming Accelerator | a high-performance data copy and transformation accelerator
| IAA | 2 | None | Intel Analytics Accelerator | accelerates compression and decompression for big data applications and in-memory analytic databases
| QAT (on CPU) | 2 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
| QAT (on chipset) | 0 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
Feature | BI_2IFU_4_F_VICTIMS_EN | 0
| EnableDBPForF | 0
| NoHmlessPref | 1
| FBThreadSlicing | 1
| DISABLE_FASTGO | 0
| SpecI2MEn | 1
| disable_llpref | 1
| DPT_DISABLE | 0
Power | TDP | 350 watts
| Power & Perf Policy | Normal (6)
| Frequency Governor | performance
| Frequency Driver | acpi-cpufreq
| Max C-State | 9
Uncore | CHA Count | 56
| Minimum Frequency | 0.8GHz
| Maximum Frequency | 2.5Ghz
| Active Idle Frequency | 1.4GHz
| Active Idle Utilization Point | 0
Memory | Installed Memory | 512GB (16x32GB DDR5 4800 MT/s [4800 MT/s])
| MemTotal | 527997040 kB
| MemFree | 521838832 kB
| MemAvailable | 521604260 kB
| Buffers | 72492 kB
| Cached | 2292368 kB
| HugePages_Total | 0
| Hugepagesize | 2048 kB
| Transparent Huge Pages | always
| Automatic NUMA Balancing | Enabled
| Populated Memory Channels | 16
DIMM Population | Socket | Channel | Slot | Details
| 0 | 0 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 0 | 1 | No Module Installed
| 0 | 1 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 1 | 1 | No Module Installed
| 0 | 2 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 2 | 1 | No Module Installed
| 0 | 3 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 3 | 1 | No Module Installed
| 0 | 4 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 4 | 1 | No Module Installed
| 0 | 5 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 5 | 1 | No Module Installed
| 0 | 6 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 6 | 1 | No Module Installed
| 0 | 7 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 0 | 7 | 1 | No Module Installed
| 1 | 0 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 0 | 1 | No Module Installed
| 1 | 1 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 1 | 1 | No Module Installed
| 1 | 2 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 2 | 1 | No Module Installed
| 1 | 3 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 3 | 1 | No Module Installed
| 1 | 4 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 4 | 1 | No Module Installed
| 1 | 5 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 5 | 1 | No Module Installed
| 1 | 6 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 6 | 1 | No Module Installed
| 1 | 7 | 0 | 32 GB @4800 MT/s DDR5 Synchronous Registered (Buffered) SK Hynix HMCG88MEBRA174N
| 1 | 7 | 1 | No Module Installed
DIMM | Bank Locator | Locator | Manufacturer | Part | Serial | Size | Type | Detail | Speed | Rank | Configured Speed
| P0_Node0_Channel0_Dimm0 | P1-DIMMA1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A2C | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMA2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node0_Channel1_Dimm0 | P1-DIMMB1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A33 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMB2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node1_Channel0_Dimm0 | P1-DIMMC1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74975 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMC2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node1_Channel1_Dimm0 | P1-DIMMD1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74955 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMD2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node2_Channel0_Dimm0 | P1-DIMME1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74AF3 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMME2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node2_Channel1_Dimm0 | P1-DIMMF1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A36 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMF2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node3_Channel0_Dimm0 | P1-DIMMG1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74B09 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMG2 |  |  |  | No Module Installed | Unknown | Unknown
| P0_Node3_Channel1_Dimm0 | P1-DIMMH1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A85 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P1-DIMMH2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node0_Channel0_Dimm0 | P2-DIMMA1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A72 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMA2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node0_Channel1_Dimm0 | P2-DIMMB1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74AB2 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMB2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node1_Channel0_Dimm0 | P2-DIMMC1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74B47 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMC2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node1_Channel1_Dimm0 | P2-DIMMD1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A62 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMD2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node2_Channel0_Dimm0 | P2-DIMME1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A6D | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMME2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node2_Channel1_Dimm0 | P2-DIMMF1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A3F | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMF2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node3_Channel0_Dimm0 | P2-DIMMG1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74A59 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMG2 |  |  |  | No Module Installed | Unknown | Unknown
| P1_Node3_Channel1_Dimm0 | P2-DIMMH1 | SK Hynix | HMCG88MEBRA174N | 80AD01214954E74ACC | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4800 MT/s
| NO DIMM | P2-DIMMH2 |  |  |  | No Module Installed | Unknown | Unknown
NIC | Name | Model | Speed | Link | Bus | Driver | Driver Version | Firmware Version | MAC Address | NUMA Node | IRQBalance
| enp3s0f0 | Ethernet Controller X710 for 10GBASE-T | 1000Mb/s | yes | 0000:03:00.0 | i40e | 5.15.0-76-generic | 8.50 0x8000be1e 1.2926.0 | 3c:ec:ef:fe:06:26 | 0 | Enabled
| enp3s0f1 | Ethernet Controller X710 for 10GBASE-T | Unknown! | no | 0000:03:00.1 | i40e | 5.15.0-76-generic | 8.50 0x8000be1e 1.2926.0 | 3c:ec:ef:fe:06:27 | 0 | Enabled
Network IRQ Mapping | Interface | CPU:IRQs CPU:IRQs ...
| enp3s0f0 | 0:336 1:246 2:278 3:282 4:286 5:252 6:248 7:317 8:233 9:240,297 10:326 11:315,325 12:268 13:303 14:320 15:321 16:272 17:263 18:242 19:332 20:316 21:323 22:296 23:331 24:292 25:311 26:347 27:338 28:270 29:276 30:306 31:257 32:342 33:275 34:339 35:301 36:309 37:328 39:238 40:324 41:285 42:236 43:237 44:329 45:235 46:337 47:261 48:343,345 49:266 51:247 52:349 53:293 54:319 55:253 112:280 113:265 114:287,289 115:291 116:239 117:308 118:267 119:288 120:262 121:314 122:327 123:258 124:249,250 125:294 126:283 127:302 128:243 129:254 130:241 131:351 132:299 133:304 134:277,279 135:256 136:273 137:274 138:318 139:244 140:298 141:295 142:260 143:322 144:259,269 145:340 146:348 147:264 148:346 149:234 150:344 151:313 152:305,307 153:350 154:255 155:284 156:281 157:310 158:251 159:290 160:334 161:341 162:333,335 163:312 164:245 165:330 166:271 167:300
enp3s0f1
Disk | NAME | MODEL | SIZE | MOUNTPOINT | FSTYPE | RQ-SIZE | MIN-IO | FwRev
| nvme0n1 | INTEL SSDPE2KX010T8 | 931.5G |  |  | 1023 | 512
| nvme0n1p1 |  | 1G | /boot/efi | vfat | 1023 | 512
| nvme0n1p2 |  | 930.5G | / | ext4 | 1023 | 512
| nvme1n1 | INTEL SSDPE2NV076T8 | 7T | /nvme | ext4 | 1023 | 4096
Filesystem | Filesystem | Size | Used | Avail | Use% | Mounted on | Mount Options
| tmpfs | 51G | 4.3M | 51G | 1% | /run | rw,nosuid,nodev,noexec,relatime,size=52799704k,mode=755,inode64
| /dev/nvme0n1p2 | 915G | 836G | 33G | 97% | / | rw,relatime
| tmpfs | 252G | 236K | 252G | 1% | /dev/shm | rw,nosuid,nodev,inode64
| tmpfs | 5.0M | 0 | 5.0M | 0% | /run/lock | rw,nosuid,nodev,noexec,relatime,size=5120k,inode64
| /dev/nvme0n1p1 | 1.1G | 6.1M | 1.1G | 1% | /boot/efi | rw,relatime,fmask=0022,dmask=0022,codepage=437,iocharset=iso8859-1,shortname=mixed,errors=remount-ro
| ortce-fs5.jf.intel.com:/hpc-wl-automation | 29T | 25T | 4.3T | 85% | /hpc-wl-automation | rw,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.165,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.165
| ortce-fs5.jf.intel.com:/scratch | 29T | 25T | 4.3T | 85% | /scratch | rw,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.165,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.165
| ortce-fs6.jf.intel.com:/opt/intel | 46T | 15T | 32T | 33% | /opt/intel | rw,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.208,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.208
| ortce-fs6.jf.intel.com:/hpc | 46T | 15T | 32T | 33% | /opt/hpc_software | rw,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.208,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.208
| cboss-HP-EliteDesk-800-G1-TWR.sh.intel.com:/tf_nfs | 451G | 447G | 0 | 100% | /nfs_ai | rw,relatime,vers=4.2,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,clientaddr=10.23.233.115,local_lock=none,addr=10.239.176.150
| aiestorage01.jf.intel.com:/srv/pvc.tools.1 | 1000G | 834G | 167G | 84% | /opt/ai | rw,relatime,vers=4.2,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,clientaddr=10.23.233.115,local_lock=none,addr=10.23.3.23
| aiestorage01.jf.intel.com:/srv/ai.home.1 | 1.0T | 848G | 176G | 83% | /opt/ai/home | rw,relatime,vers=4.2,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,clientaddr=10.23.233.115,local_lock=none,addr=10.23.3.23
| aiestorage01.jf.intel.com:/srv/xe.models.1 | 3.0T | 1.7T | 1.4T | 55% | /opt/xe.models.1 | rw,relatime,vers=4.2,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,clientaddr=10.23.233.115,local_lock=none,addr=10.23.3.23
| aiestorage01.jf.intel.com:/srv/xe.datasets.1 | 10T | 8.0T | 2.1T | 80% | /opt/xe.datasets.1 | rw,relatime,vers=4.2,rsize=1048576,wsize=1048576,namlen=255,hard,proto=tcp,timeo=600,retrans=2,sec=sys,clientaddr=10.23.233.115,local_lock=none,addr=10.23.3.23
| /dev/nvme1n1 | 7.0T | 28K | 6.6T | 1% | /nvme | rw,relatime
| cthor-fs1.jf.intel.com:/home/skambapu | 200T | 53T | 138T | 28% | /nfs/site/home/skambapu | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/omarahme | 200T | 53T | 138T | 28% | /nfs/site/home/omarahme | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/lxu4 | 200T | 53T | 138T | 28% | /nfs/site/home/lxu4 | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/lxu4 | 200T | 53T | 138T | 28% | /nfs/pdx/home/lxu4 | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/sselmax | 200T | 53T | 138T | 28% | /nfs/site/home/sselmax | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/wbrown | 200T | 53T | 138T | 28% | /nfs/pdx/home/wbrown | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/dguo | 200T | 53T | 138T | 28% | /nfs/site/home/dguo | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/jbberry | 200T | 53T | 138T | 28% | /nfs/site/home/jbberry | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/ortce_github_runner | 200T | 53T | 138T | 28% | /nfs/site/home/ortce_github_runner | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/emascare | 200T | 53T | 138T | 28% | /nfs/site/home/emascare | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/emascare | 200T | 53T | 138T | 28% | /nfs/pdx/home/emascare | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/mrezavan | 200T | 53T | 138T | 28% | /nfs/site/home/mrezavan | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/jelyouss | 200T | 53T | 138T | 28% | /nfs/site/home/jelyouss | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/mplewka | 200T | 53T | 138T | 28% | /nfs/site/home/mplewka | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/mmichel | 200T | 53T | 138T | 28% | /nfs/site/home/mmichel | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
| cthor-fs1.jf.intel.com:/home/lqnguyen | 200T | 53T | 138T | 28% | /nfs/site/home/lqnguyen | rw,nosuid,relatime,vers=3,rsize=1048576,wsize=1048576,namlen=255,soft,proto=tcp,timeo=600,retrans=2,sec=sys,mountaddr=10.23.233.58,mountvers=3,mountport=20048,mountproto=udp,local_lock=none,addr=10.23.233.58
GPU | Manufacturer | Model | PCI ID
| ASPEED | Unknown | 1A03:2000
| NVIDIA | Unknown | 10DE:2331
| NVIDIA | Unknown | 10DE:2331
CXL Device | No data found.
Vulnerability | CVE-2017-5715 | OK (Enhanced IBRS + IBPB are mitigating the vulnerability)
| CVE-2017-5753 | OK (Mitigation: usercopy/swapgs barriers and __user pointer sanitization)
| CVE-2017-5754 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12126 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12127 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12130 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12207 | OK (this system is not running a hypervisor)
| CVE-2018-3615 | OK (your CPU microcode mitigates the vulnerability)
| CVE-2018-3620 | OK (Not affected)
| CVE-2018-3639 | OK (Mitigation: Speculative Store Bypass disabled via prctl and seccomp)
| CVE-2018-3640 | OK (your CPU microcode mitigates the vulnerability)
| CVE-2018-3646 | OK (your kernel reported your CPU model as not affected)
| CVE-2019-11091 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2019-11135 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2020-0543 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2022-40982 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2023-20569 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2023-20593 | OK (your CPU vendor reported your CPU model as not affected)
Process | PID | PPID | %CPU | %MEM | RSS | COMMAND
| 2051478 | 1 | 0.2 | 0 | 60568 | /usr/bin/containerd
| 2051477 | 1 | 0.1 | 0 | 5352 | /usr/sbin/irqbalance --foreground
| 2562725 | 2562719 | 0 | 0 | 1028 | head -n 20
| 2562723 | 2562719 | 0 | 0 | 6132 | ps -eo pid,ppid,%cpu,%mem,rss,command --sort=-%cpu,-pid
| 2562704 | 2562703 | 0 | 0 | 9928 | /tmp/svr-info.tmp.4013308173/collector /tmp/svr-info.tmp.4013308173/ortce-H100-2_reports_collector.yaml
| 2562703 | 2562688 | 0 | 0 | 3568 | bash -c /tmp/svr-info.tmp.4013308173/collector /tmp/svr-info.tmp.4013308173/ortce-H100-2_reports_collector.yaml > collector.stdout
| 2562688 | 2561668 | 0 | 0 | 64900 | ./svr-info
| 2561668 | 2561576 | 0 | 0 | 6396 | -bash
| 2561576 | 2051515 | 0 | 0 | 11644 | sshd: root@pts/0
| 2055057 | 1 | 0 | 0 | 9136 | /usr/local/sbin/slurmd -b -vvv --conf-server ortce-skl23:6817,ortce-skl:6817,ortce-skl21:6817,ortce-skl22:6817
| 2051757 | 1 | 0 | 0 | 17992 | /usr/sbin/automount --pid-file /var/run/autofs.pid
| 2051752 | 1 | 0 | 0 | 2348 | /usr/sbin/ypbind
| 2051748 | 1 | 0 | 0 | 4240 | /sbin/rpcbind -f -w
| 2051626 | 1 | 0 | 0 | 14504 | /lib/systemd/systemd-resolved
| 2051597 | 2051596 | 0 | 0 | 512 | /usr/sbin/chronyd -F 1
| 2051596 | 1 | 0 | 0 | 3584 | /usr/sbin/chronyd -F 1
| 2051577 | 1 | 0 | 0 | 53968 | /usr/sbin/munged
| 2051562 | 1 | 0 | 0 | 8040 | /lib/systemd/systemd-networkd
| 2051561 | 2051474 | 0 | 0 | 292 | avahi-daemon: chroot helper
Sensor | Sensor | Reading | Status
| CPU1 Temp | 42 degrees C | ok
| CPU2 Temp | 42 degrees C | ok
| Inlet Temp | 19 degrees C | ok
| PCH Temp | 38 degrees C | ok
| System Temp | 34 degrees C | ok
| Peripheral Temp | 27 degrees C | ok
| CPU1_VRMIN Temp | 39 degrees C | ok
| CPU1_VRMON Temp | 32 degrees C | ok
| CPU1_VRMHV Temp | 38 degrees C | ok
| CPU2_VRMIN Temp | 41 degrees C | ok
| CPU2_VRMON Temp | 39 degrees C | ok
| CPU2_VRMHV Temp | 47 degrees C | ok
| P1_DIMMA~D Temp | 32 degrees C | ok
| P1_DIMME~H Temp | 26 degrees C | ok
| P2_DIMMA~D Temp | 34 degrees C | ok
| P2_DIMME~H Temp | 30 degrees C | ok
| M2SSD1 Temp | no reading | ns
| M2SSD2 Temp | no reading | ns
| FAN1 | 3220 RPM | ok
| FAN2 | 3220 RPM | ok
| FAN3 | 3220 RPM | ok
| FAN4 | 3220 RPM | ok
| FAN5 | 3360 RPM | ok
| FAN6 | 3220 RPM | ok
| FAN7 | 3220 RPM | ok
| FAN8 | 3220 RPM | ok
| FAN9 | 2380 RPM | ok
| FAN10 | 2240 RPM | ok
| 12V | 12.09 Volts | ok
| 5VCC | 5.10 Volts | ok
| 3.3VCC | 3.30 Volts | ok
| VBAT | 0x04 | ok
| 5VSB | 5.06 Volts | ok
| 3.3VSB | 3.32 Volts | ok
| 2.5V BMC | 2.55 Volts | ok
| 1.8V BMC | 1.81 Volts | ok
| 1.2V BMC | 1.23 Volts | ok
| 1.0V BMC | 1.02 Volts | ok
| 1.8V PCH | 1.79 Volts | ok
| PVNN PCH | 1.04 Volts | ok
| 1.05V PCH | 1.07 Volts | ok
| PLX Temp | 58 degrees C | ok
| Chassis Intru | 0x01 | ok
| AOC_NIC0 Temp | 32 degrees C | ok
| GPU1 Temp | 43 degrees C | ok
| GPU2 Temp | 47 degrees C | ok
| U2_SSDA Temp | 37 degrees C | ok
Chassis Status | Last Power Event
| Power Overload | false
| Main Power Fault | false
| Power Restore Policy | always-off
| Drive Fault | false
| Cooling/Fan Fault | false
| System Time | 10/20/23 15:50:33 PDT
System Event Log | Date | Time | Sensor | Status | Event
| 10/04/23 | 13:55:57 PDT | Physical Security Chassis Intru | General Chassis intrusion () | Asserted
| 10/04/23 | 13:56:07 PDT | Power Supply PS1 Status | Presence detected () | Asserted
| 10/04/23 | 13:56:07 PDT | Power Supply PS2 Status | Presence detected () | Asserted
| 10/04/23 | 13:56:07 PDT | Power Supply PS4 Status | Presence detected () | Asserted
| 10/04/23 | 13:56:11 PDT | Power Supply PS3 Status | Presence detected () | Asserted
| 10/04/23 | 13:56:11 PDT | Power Supply PS3 Status | Failure detected () | Asserted
| 10/04/23 | 13:56:11 PDT | Power Supply PS3 Status | Power Supply AC lost () | Asserted
| 10/04/23 | 14:19:11 PDT | Unknown #0xff |  | Asserted
| 10/05/23 | 09:19:55 PDT | Unknown #0xff |  | Asserted
| 10/05/23 | 09:30:46 PDT | Power Supply PS3 Status | Failure detected () | Deasserted
| 10/05/23 | 09:30:46 PDT | Power Supply PS3 Status | Power Supply AC lost () | Deasserted
| 10/05/23 | 10:46:11 PDT | Unknown #0xff |  | Asserted
| 10/05/23 | 10:46:25 PDT | Unknown #0xff |  | Asserted
| 10/05/23 | 10:47:33 PDT | System Event | Timestamp Clock Sync () | Asserted
| 10/05/23 | 10:47:36 PDT | System Event | Timestamp Clock Sync () | Asserted
| 10/05/23 | 10:48:19 PDT | Physical Security Chassis Intru | General Chassis intrusion () | Asserted
| 10/05/23 | 10:48:19 PDT | Power Supply PS1 Status | Presence detected () | Asserted
| 10/05/23 | 10:48:19 PDT | Power Supply PS2 Status | Presence detected () | Asserted
| 10/05/23 | 10:48:19 PDT | Power Supply PS3 Status | Presence detected () | Asserted
| 10/05/23 | 10:48:19 PDT | Power Supply PS4 Status | Presence detected () | Asserted
Kernel Log | Entries
[Oct20 10:53] docker0: port 1(veth92a3227) entered disabled state
[ +0.000120] veth2ee30bf: renamed from eth0
[ +0.060844] docker0: port 1(veth92a3227) entered disabled state
[ +0.000426] device veth92a3227 left promiscuous mode
[ +0.000003] docker0: port 1(veth92a3227) entered disabled state
[Oct20 11:10] docker0: port 1(veth42b9faa) entered blocking state
[ +0.000004] docker0: port 1(veth42b9faa) entered disabled state
[ +0.000103] device veth42b9faa entered promiscuous mode
[ +0.246518] eth0: renamed from veth75f65a6
[ +0.056122] IPv6: ADDRCONF(NETDEV_CHANGE): veth42b9faa: link becomes ready
[ +0.000186] docker0: port 1(veth42b9faa) entered blocking state
[ +0.000002] docker0: port 1(veth42b9faa) entered forwarding state
[Oct20 11:22] docker0: port 1(veth42b9faa) entered disabled state
[ +0.000146] veth75f65a6: renamed from eth0
[ +0.067298] docker0: port 1(veth42b9faa) entered disabled state
[ +0.000605] device veth42b9faa left promiscuous mode
[ +0.000005] docker0: port 1(veth42b9faa) entered disabled state
[Oct20 11:46] slurm.epilog.cl (2559206): drop_caches: 3
[Oct20 15:51] msr: Write to unrecognized MSR 0xb0 by wrmsrx (pid: 2562776).
[ +0.000005] msr: See https://git.kernel.org/pub/scm/linux/kernel/git/tip/tip.git/about for details.
PMU | cpu_cycles | Active
| instructions | Inactive
| ref_cycles | Inactive
| topdown_slots | Inactive
| gen_programmable_1 | Inactive
| gen_programmable_2 | Inactive
| gen_programmable_3 | Inactive
| gen_programmable_4 | Inactive
| gen_programmable_5 | Inactive
| gen_programmable_6 | Inactive
| gen_programmable_7 | Inactive
| gen_programmable_8 | Inactive
svr-info | version | 2.7.4_2023-10-13_9eb069e4

## Brief
Name | ortce-H100-2
Time | Fri Oct 20 10:50:40 PM UTC 2023
System | Supermicro Super Server
Baseboard | Supermicro X13DEG-OA
Chassis | Supermicro Unknown
CPU Model | Intel(R) Xeon(R) Platinum 8480+
Microarchitecture | SPR_XCC
Sockets | 2
Cores per Socket | 56
Hyperthreading | Enabled
CPUs | 224
Intel Turbo Boost | Enabled
Base Frequency | 2.0GHz
All-core Maximum Frequency | 3.0GHz
Maximum Frequency | 2.0GHz
NUMA Nodes | 2
Prefetchers | L2 HW, L2 Adj., DCU HW, DCU IP
PPINs
Accelerators Available [used] | DLB 2 [0], DSA 2 [0], IAA 2 [0], QAT 2 [0]
Installed Memory | 512GB (16x32GB DDR5 4800 MT/s [4800 MT/s])
Hugepagesize | 2048 kB
Transparent Huge Pages | always
Automatic NUMA Balancing | Enabled
NIC | 2x Ethernet Controller X710 for 10GBASE-T
Disk | 1x 931.5G INTEL SSDPE2KX010T8, 1x 7T INTEL SSDPE2NV076T8
BIOS | 1.4
Microcode | 0x2b000461
OS | Ubuntu 22.04 LTS
Kernel | 5.15.0-76-generic
TDP | 350 watts
Power & Perf Policy | Normal (6)
Frequency Governor | performance
Frequency Driver | acpi-cpufreq
Max C-State | 9
Vulnerability | CVE-2017-5715:OK, CVE-2017-5753:OK, CVE-2017-5754:OK, CVE-2018-12126:OK, CVE-2018-12127:OK, CVE-2018-12130:OK, CVE-2018-12207:OK, CVE-2018-3615:OK, CVE-2018-3620:OK, CVE-2018-3639:OK, CVE-2018-3640:OK, CVE-2018-3646:OK, CVE-2019-11091:OK, CVE-2019-11135:OK, CVE-2020-0543:OK, CVE-2022-40982:OK, CVE-2023-20569:OK, CVE-2023-20593:OK
System Summary | 1-node, 2x Intel(R) Xeon(R) Platinum 8480+, 56 cores, HT On, Turbo On, NUMA 2, Integrated Accelerators Available [used]: DLB 2 [0], DSA 2 [0], IAA 2 [0], QAT 2 [0], Total Memory 512GB (16x32GB DDR5 4800 MT/s [4800 MT/s]), BIOS 1.4, microcode 0x2b000461, 2x Ethernet Controller X710 for 10GBASE-T, 1x 931.5G INTEL SSDPE2KX010T8, 1x 7T INTEL SSDPE2NV076T8, Ubuntu 22.04 LTS, 5.15.0-76-generic, WORKLOAD+VERSION, COMPILER, LIBRARIES, OTHER_SW, score=?UNITS. Test by COMPANY as of 10/20/23.

## Benchmark
Summary | No data found.
Core Frequency | Core Count | Spec Frequency (GHz) | Measured Frequency (GHz)
| 1 | 3.8
| 2 | 3.8
| 3 | 3.8
| 4 | 3.8
| 5 | 3.8
| 6 | 3.8
| 7 | 3.8
| 8 | 3.8
| 9 | 3.8
| 10 | 3.8
| 11 | 3.8
| 12 | 3.8
| 13 | 3.8
| 14 | 3.8
| 15 | 3.8
| 16 | 3.8
| 17 | 3.8
| 18 | 3.8
| 19 | 3.8
| 20 | 3.8
| 21 | 3.8
| 22 | 3.8
| 23 | 3.8
| 24 | 3.8
| 25 | 3.8
| 26 | 3.8
| 27 | 3.8
| 28 | 3.8
| 29 | 3.6
| 30 | 3.6
| 31 | 3.6
| 32 | 3.6
| 33 | 3.6
| 34 | 3.6
| 35 | 3.4
| 36 | 3.4
| 37 | 3.4
| 38 | 3.4
| 39 | 3.4
| 40 | 3.4
| 41 | 3.2
| 42 | 3.2
| 43 | 3.2
| 44 | 3.2
| 45 | 3.1
| 46 | 3.1
| 47 | 3.1
| 48 | 3.1
| 49 | 3.1
| 50 | 3.1
| 51 | 3
| 52 | 3
| 53 | 3
| 54 | 3
| 55 | 3
| 56 | 3
Memory Bandwidth and Latency | No data found.
Memory NUMA Bandwidth | No data found.

## Profile
Summary | No data found.
Average CPU Utilization | No data found.
CPU Utilization | No data found.
IRQ Rate | No data found.
Drive Stats | No data found.
Network Stats | No data found.
Memory Stats | No data found.

## Analyze
Code Path Frequency | No data found.

## Insights
Insight | Recommendation | Justification
| Consider setting the Power and Performance policy to 'Performance'. | Power and Performance policy is set to 'Normal (6)'.
| Consider using the 'Intel PState' frequency driver. | Frequency driver is 'acpi-cpufreq'.
| Consider manually configuring IRQ CPU affinity for network intensive workloads. | System is using the IRQ Balance service to manage IRQ CPU affinity.
| Consider configuring DSA to allow accelerated data copy and transformation in DSA-enabled software. | No work queues are configured for DSA accelerator(s).
| Consider configuring IAA to allow accelerated compression and decompression in IAA-enabled software. | No work queues are configured for IAA accelerator(s).